E4353 V5

Strategic Cities Development Project (SCDP)

Environmental Screening Report for

Drainage Improvement in Galle City

PHASE 01: Rehabilitation Works of Moragoda Canal

Draft Final Report

January 2014

Uni-Consultancy Services

University of Moratuwa

# Table of Contents

- Project Identification								3

- Project Location								3

- Project Justification								5

- Project Description								7

- Description of the Existing Environment					10

- Public Consultation								21

- Environmental Effects and Mitigation Measures

7a. Screening for Potential Environmental Impacts				22

7b. Environmental Management Plan						31

- Conclusion and Screening Decision						42

- Details of Persons Responsible for the Environmental Screening		49

Annexes

- Location maps

- Terrain and Drainage map

- Soil map and geological map

- LS and Photos

Strategic Cities Development Project (SCDP)

Environmental Screening Report

1. Project Identification

| Project title | Strategic Cities Development Project (SCDP) Drainage Improvement in Galle City : Rehabilitation Works of MoragodaEla |
| --- | --- |
| Project Proponent | Sri Lanka Land Reclamation and Development Corporation (SLLRDC) |

2. Project Location

| Location | Galle, Southern Province. Location of the project is depicted in Appendix 1(a & b). |
| --- | --- |
| Definition of Project Area (The geographical extent of the project & areas affected during construction) | The project area is along the Moragoda Ela from the Kanaduwatta Bridge (0+000 km) to the sea outfall (4+259 km). The objective drainage basin of MoragodaEla is one of the main storm water drainage canals discharging storm water directly into the sea from the Galle Basin. Under the proposed project, the interventions in Moragoda Ela starts from Kahaduwatta Junction where Kitulampitiya road and the G.K. Sam AppuhamyMawatha crosses. Total canal length is 4.259 km. Width of the canal varies from 11.0 m to 25.0 m. The project area is illustrated in Annexure 1 (a, b, &c). |
| Adjacent land and features | See “Other features” in Section 5.2 |

Figure 1. Location map and the project boundary

3. Project Justification

| Need for the project (What problem is the project going to solve) | The Galle Municipal Area Drainage System comprises of a network of large open canals, smaller tributary canals and a few low-lying marshes functioning as natural retention basins. The system functions to serve the drainage needs of the Galle area and reduces incidence of flooding and thereby improves the health and sanitation conditions of the urban community, particularly of the urban poor who inhabit low-lying regions. The drainage system could be broadly divided into three major canals with three outfalls directly discharging in to the sea. The location of the main canals and the details of the sub canals are provided in Annexure 2 (a & b). 1. MoragodaEla (Length – 4.259 km) 2. KepuEla ( Length – 3.230 km) 3. ModaEla (Length – 3.321 km) The drainage area is relatively a flat area and drainage flows are reduced due to tidal effect of sea outlets. Further the drainage flows are obstructed at structure locations (mainly bridges) constructed across the drainage flow paths and inadequate width of canals and vegetation growth at canal banks. In consideration of the frequent flooding in the Galle Municipal area covered under the 3 main canals, it is proposed to implement a drainage improvement plan in two phases. Phase I: Drainage improvement of MoragodaEla including bank protection and reconstruction of crossing structures Phase II: Drainage Improvements of KepuEla, ModaEla and all the other smaller tributary canals with cross drains. The present major flood damages within the Galle Municipal Council limits (other than localized flood damages in few other isolated areas) are observed in the following areas. (Refer Inundation Areas within Galle MC Limits in Annexure 2a). i. Milladuwa Area ii. Near Alapalawa Area iii. Osanagoda Area iv. Near China Garden v. Kahaduwatta Junction vi. Beligaha Junction vii. Julgaha Junction From above areas, Milladuwa Area located in the MoragodaEla is frequently inundated and the causes of flooding are due to insufficient capacities of drainage canals, insufficient opening of channel crossing structures and water level rise of the MoragodaEla. The development of drainage improvements in the MoragodaEla basin will progress not only in the lowlands but also in the entire basin. The urbanization of the basin will cause increase of flood runoff and the flood runoff increase will result in increase of the flood damage in the lower areas. The proposed Moragoda Ela basin storm water drainage improvement plan will be formulated taking into account the conditions of the entire basin including future development scenario of the basin. It is essential that the storm water drainage project should precede the basin development so as to minimize serious storm water drainage problems. Hence, the implementation of the proposed storm water drainage project will assure the sustainable development of the basin leading to increase the living standard of mainly low income community living in the frequent inundation areas. The proposed Project will bring positive impacts to the environment and will contribute to poverty reduction through improvement of the living conditions of the people affected and benefited by the Project as they are mostly classified into the low-income group. The needs of the proposed Project could be justified based on the above consideration. |
| --- | --- |
| Purpose of the project (what is going to be achieved by carrying out the project) | The purpose of the project is to derive the following benefits and the beneficiaries are listed below: Benefits - Enhancement of flood control. - Increased land values in adjacent areas. - Improved health conditions and reduction in health expenditure. - Reduction in annual and recurrent operation and maintenance cost to the central government for canal clean-up - Increased use of the canal system for recreational purposes and waterfront development. Beneficiaries - People residing close to the canal and with the combined effect, the entire Galle Metropolitan area. - The Government and the agencies managing the storm water drainage. |
| Alternatives considered (different ways to meet the project need and achieve the project purpose) | No any other alternative is considered for the project as it is envisaged that there are no any other technically feasible and economically viable engineering interventions that could be accommodated in place of the proposed option. |

4. Project Description

| Proposed start date | The tender documents are expected to be ready by the end of 2014. Awarding of the tender will take place Before the end of this year. |
| --- | --- |
| Proposed completion date | It will take minimum 12 – 15 months to finish the project from the date of opening bid documents. |
| Estimated total cost | Estimate: |
| Present land ownership | The canal is managed by the Provincial Irrigation Department (PID), therefore the canal reservations and canal access roads, once restored/implemented, will be owned by the PID. Land on either side of the canal bank is mostly privately owned. |
| Description of the project (with supporting material such as maps, drawings etc attached as required) | The main objective of the proposed project is to rehabilitate the existing MoragodaEla/Canal with required canal cross sections or dimensions to minimize storm water flood damage for a 10 year design return period of floods with a 2 year return period tidal conditions at the sea outfall. The proposed interventions under the drainage improvement project are; - MoragodaEla bank protection from Kahaduwatta Junction (Ch. 0+000 km) to the outfall (4+259 km) using gabion walls (hard) and earthen vegetated embankments (soft) at selected locations. - Canal widening and realignment of bridges identified to constrain the canal flow, causing flow heading up and embankment overtopping - Reinstatement of storm water drainage connections (hume pipes) to Moragoda Canal through gabion walls and introduction of catch pits wherever required. - Reinstatement of maintenance road (3.0 m wide) and construction of road side drain and cross drainage to the canal. - Temporary shifting and relocating of utility posts (electricity and telecom), if required. - Removal of debris and nuisance weeds (Salvinia and water hyacinth) obstructing water flow from the waterway area and maintenance dredging of the canal bed in selected locations mainly to remove solid waste/silt obstructing water flow (no dredging causing lowering of the channel bed will be carried out). The bank protection measures (soft and hard) are proposed based on the designs developed following the detailed model analyses and alternative comparisons, as elaborated in the Conceptual Design Report by the Sri Lanka Land Reclamation and Development Corporation (SLLRDC). The present ESR has been carried out based on the interventions proposed and inundation assessments carried out in accordance with the findings and recommendations of the said report. The scenarios analyzed are: - Moragoda Ela as it is (existing condition) for 5 year return period peak discharge - Moragoda Ela as it is (existing condition) for 10 year return period peak discharge - Moragoda Ela as it is (existing condition) for 5 year return period peak discharge under 2025 land use scenario - Moragoda Ela as it is (existing condition) for 10 year return period under 2025 land use scenario - Moragoda Ela with proposed interventions for 5 year return period peak discharge - Moragoda Ela with proposed interventions for 10 year return period peak discharge - Moragoda Ela with proposed interventions for 5 year return period peak discharge under 2025 land use scenario - Moragoda Ela with proposed interventions for 10 year return period peak discharge under 2025 land use scenario It is noted that existing channel condition with present land use scenario can withstand 5-year and 10-year return period peak discharges without causing embankment overtopping and subsequent inundation (Annexure 4 a, b & c). However, under the 2025 land use scenario, the canal conditions will be satisfactory for the 5-year return period peak discharge but overtopping is observed at 10-year peak discharge level at several sections (Ch. 3+200, 3+268, 3+373 & 3+877 km; Annexure 4 d). The scenario analyses incorporating proposed interventions including debris removal and maintenance dredging (no channel deepening), embankment stabilization and flow guidance with gabions, and bridge re-alignment at selected locations show that the interventions have increased the flow conveyance capacity of the canal and no over topping or inundation occurs for both 5- and 10-year return period peak discharges excepting for the future land use scenarios where a few locations are vulnerable.; Annexures 4 e to h). It has been further ensured that the bridge re-alignment will not cause additional flooding in upstream areas for storms with 10 year return period. The canal water surface profile, bed elevation (no dredging), elevations of the existing/proposed embankment elevations are depicted in Annexure 4 (a-h). The detailed drawings of the project area and proposed interventions are given in Annexure 5. |
| And Project Management Team | A Project Management Unit (PMU) will be established under the Ministry of Defense and Urban Development (MoDUD) to implement the proposed development activities in Galle under the Strategic Cities Development Project (SCDP) together with Project Partner Agencies (PPA). The PPA for this project will be the PID which will be responsible for implementing the proposed interventions. The consultant for design and supervision is the Sri Lanka Land Reclamation and Development Co-operation (SLLRDC) Contact Persons: Mr. JanakaKurukulasuriya, Additional Secretary, Ministry of Defense and Urban Development Mrs. GangadariRanawaka, Assistant Director (Urban Development), Additional Secretary, Ministry of Defense and Urban Development Tel.: 011 2866445 E-mail: gangaajith@yahoo.com Eng. C. B. Amarasinghe Designation : Deputy General Manager (Research & Designs) Sri Lanka Land Reclamation & Development Corporation No. 03, Sri JayawardenapuraMawatha Welikada, Rajagiriya Tel : +94 11 2867532 Nature of consultation and input received Meetings and consultation with project engineers and design engineers at SLLRDC’s Head Office in Rajagiriya; Additional meetings with Provincial Irrigation Department and site visits were conducted. Hydrological design details, and other relevant information were gathered. |

# 5.0 Description of the existing environment

| 5.1 Physical features – Ecosystem components |  |
| --- | --- |
| Topography and terrain | The topography of Sri Lanka is marked by great diversity caused by long years of faulting and erosion of the landscape. The central mountainous region with the highest elevations covered by virgin forests and grasslands rises up to about 2,500 m above mean sea level. The surrounding plains, which rise to about 50 to 100 m above sea level, are largely used for agriculture and homesteads, but still have virgin scrubland where the population distribution is lower. This general topography of the country can be divided into three distinct geographical areas or well markedpeneplains featuring the coastal belt, the plains, and the central highlands. The Galle district which incorporates the project area falls into the so called lowest peneplain of Sri Lanka (after P.G. Cooray – Geology of Sri Lanka, 1984). The elevation variation of Galle district situated in this coastal peneplain ranges to a maximum elevation of 150 m from sea coast. The terrain in Galle area largely consists of gently undulating plains and low-lying flatlands with a high density of drainage paths formulating a geography consisting of a mix of land and water. The city has many canals and the 12-hectare (30-acre) Mahamodara Lake situated in the downstream part of KepuEla. The ground profile of the MoragodaEla basin area is generally flat with ground level varying approximately between 1.5 m AMSL & 10.0 m AMSL, except for the isolated ridges and fragmentary blocks of hilltops located in the borderline,rising intermittently to the heights of 15.0~30.0 m AMSL. The canal bed elevation varies from +0.5 m AMSL in the upstream (0+000 km) to -2.0 m AMSL at sea outfall (4+259 km), thus the canal slope is also very minimal (~0.03%), causing stagnating flows with very low flow velocity. |
| Soil (type and quality) | The geology of Galle is representative of the geology of the South-western coast of Sri Lanka and has existed for much of the Quaternary era. The coastline is characterized by estuarineformations, however, a few kilometers upstream in the inland valleys, there is a high-level gravel formation consisting of quartz pebbles embedded in a matrix of laterite separated with pebble-free layers of laterite. The floodplains along the rivers consist mainly of alluvial deposits. A vast area (over 90%) of Sri Lanka is underlain by metamorphic crystalline rocks of Precambrian age, which includes the project area and covers a variety of Gneisses. The geology of Galle is representative of the geology of the south-western coast of Sri Lanka and has existed for much of the Quaternary era. This is shown in the 1:10,000 and 1:50,000 geological maps of Galle region produced by the Geological Survey and Mines Bureau. The typical rock types of this basement include Garnet sillimanite schist and gneiss, Quartz peldspar granulite, Charnockitic gneisses, Pyriclaciteand Charnockitic biotitic gneisses of undifferentiated Highland Series. According to Survey Department soil maps (Annexure 3a & b) the main soil types in the project area are as follows. - Red Yellow Podzolic soils with weel developed laterite and their drainage - Alluvial soils of variable texture and drainage: flat terrain - Regosols on beach sands: flat terrain It is presumed that these site-specific features are the most important ones as the environmental impact is considered. |
| Surface water (sources, distance from the site, local uses and quality) | Sources The most prominent source of surface water in the vicinity is the MoragodaElaand surface water drainage canal network that are connected with the main canal: Distance from the site: Project area includes the canal and the outfall. Local uses: The canal plays an important role in conveying surface drainage and flood waters. Although the local people do not derive other benefits than diverting their surface drainage into these canals, the intrinsic function is vital and most important in draining the flood waters of the area. There are numerous illegal discharge points of grey water from residences, commercial establishments and warehouses located adjoining the canal, and due to the appalling level of water pollution, no other local uses can be derived from the water body. Quality COD, BOD, turbidity and total suspended solid content are very high in the water. Dissolved oxygen, and pH are within the normal range. Phosphate concentrations are relatively high which indicate nutrient enrichment due to disposal of domestic and industrial wastewater into the canal over time. According to a previous study conducted by several researchers attached to University of Ruhuna, the temperature along the canal was within a range of 25.9-29.60C.Temperature does not vary significantly along the stream. The pH values were within 6.5-8.3 along the canal and it did not show a significant variation with the type of surrounding area. Alkalinity level was within 90-365 mg/L. Sulphate levels of MoragodaEla varied between 160-970mg/L. The high sulphate concentration at the upstream of Moragoda Ela may be due to the discharge of detergent-laden sanitary water directly into the stream by the surrounding residential areas. Dissolved oxygen concentration varied from 8.55 mg/L to 3.49 mg/L. The COD and BOD5 values were around 14.8 mg/L for BOD5 and 127.5 mg/L, respectively. Therefore the degree of pollution of this canal can be considered to be high when compared with other natural streams. Mean values of faecal and total coliforms were around 47 colonies/100mL and 23,471 colonies/100mL, respectively. |
| Ground water (sources, distance from the site, local uses and quality) | Sources According to the Land Use Division of the Irrigation Department, the project area falls within the local or discontinuous moderate to low aquifer in fractured rock. Only available source of ground water in the project site is shallow wells. However, ground water as a source of water is only been used for bathing at present. This is due to two reasons: availability of ample water supplies by NWS&DB and ground water being polluted. Distance from the site The ground water table is very shallow and is about 0.4-0.5 m on average close to the Canal, and can be at a level from almost at surface up to 1.5-3.0 m. Local uses Only a handful of households use shallow wells to abstract water. Even those who have shallow wells do not use water for daily consumption; they use the wells only occasionally for bathing, washing of clothes and watering the garden. Quality There are no data available for quality of ground water. However, it can be assumed that dissolved solid levels including salinity to be high as the project area is located very close to the coastal belt. The ground water can get contaminated due to dilapidated state of sewer connections and leakages. |
| Flooding | The midstream catchment area has suffered from frequent flooding up to around two to three times per year (Annexure 1c and 2a). Even though the canal stretch in the proposed project area appear to have adequate drainage capacity to withstand 5- and 10-year return period design peak discharges, the drainage flows are seemingly obstructed due to inadequate width of canals and vegetation growth at canal banks. Some of the structures (mainly bridges) constructed across the drainage flow paths act asobstacles, causing downstream backwater effect leading to embankment overtopping and subsequent inundation in the low-lying floodplain.. The terrain is either flat in most areas or consists of mild slopes, therefore flow velocities are very low, causing flow stagnation in the downstream. After heavy storm events and especially due to temporary blockage of existing storm water drainage system, the water movement concentrates in the low-lying areas causing temporary ponding or minor flooding in the adjacent localities, as has occurred in the recent past. Tidal effects (on main drainage lines and sea outfall) The tidal effects should be considered in determining design levels for the downstream drainage structures including sea outfall. Due consideration should be given to maximum tidal variations and maximum wave heights when establishing drainage line and sea outfall design capacities. Tidal Levels and Periods The tide around Sri Lankan coast is mixed semi-diurnal type with two high waters and two low waters occurring approximately every 24 hours. First high water is almost twice high than the second high water. Amplitude of the tide in the west coast sea where the proposed project is located ranges from 35 cm at neap tide to 75 cm at spring tide. Wave Heights, Periods, Dominant Directions and other Ancillary Offshore and Near shore Wave Parameters Directional wave measurements near the project area are not available. However the wave conditions in the area have been established by a wave transformation study. According to Directional Wave Climate Study of Southwest Coast of Sri Lanka, dominant wave characteristics of the project area can be summarized as follows. Wave Frequency Wave frequency has not been measured but seasonal variations need to be taken care of. Such data are given below. Waves, tides and ocean current regimes Much of the swell that affects Sri Lanka originates in the South Indian Ocean under the influence of westerly depressions and storms. This moves northwards and is felt most along the coasts of the Southern half of the island. Most large waves have a southerly component, but they rarely reach a height of over two meters. The highest waves are during the SW monsoon season, but the effective fetch is only about 800 km between the Maldives Island chain and Sri Lanka. During the SE monsoon, the northerly winds blow over short stretches of water from the North, and even when blowing across the bay of Bengal, are not steady enough to generate large waves. The period between tides is approximately 12 hours and is thus semidiurnal. |
| Air quality (any pollution issues) | Heavy vehicle movements along major roads located nearby and other bye-roads in the project area lead to high levels of air pollutant emissions, such as dust including particulate matter, smoke including CO, CO2, NOx, SOx etc. Such air pollution episodes can aggravate during peak hours when traffic movements are impeded. Fugitive dust particles could escape into the atmosphere during construction activities and during transportation and subsequent storage and handling. Emanation of foul odors from the canal, especially during dry weather when water levels are low, could take place from rotting solid wastes thrown in the water and sewage discharges. |
| Noise level and vibration (Any anticipated issues) | Existing ambient noise and vibration levels in the area correspond tohighly urban and light industrial, businesses, hotel and restaurants. There is also heavy traffic noise fromHirimbura Road and Galle-Matara Road, a road which carries heavy traffic during peak hours as well as during the night time. Intermittent high levels of noise and vibration levels are observed due to train operations, which is also one of the busiest railway sections of the country. All these urban activities contribute to high noise levels in the project area. |

| 5.2 Ecological features – Eco-system components |  |
| --- | --- |
| Vegetation (trees, ground cover, aquatic vegetation) | Aquatic vegetation such as Salvinia and water hyacinth are predominant in the canal particularly in the areas where salinity is very low. |
| Presence of wetlands | In the upstream areas of the canals there exist wetlands in the form of low lying marshes which are usually inundated absorbing the flash floods. |
| Fish and fish habitats | No fish have been observed during the field visit, however there have been no threatened or endemic species recorded in this canal. |
| Birds (waterfowl, migratory birds, others) | Common water fowl birds inhabit the wetland areas associated with the upstream canal. |
| Presence of special habitat areas (special designations & identified sensitive zones) | No such areas are found. |
| Other features |  |
| Residential/Sensitive Areas (Eg, Hospitals, Schools) | No sensitive areas are found in the vicinity except the dwelling units and commercial buildings where the canal goes through town centres. The canal banks in most places are built. |
| Traditional economic and cultural activities | No such activities are found in the vicinity. |
| Archeological resources | No such artifacts are reordered in the vicinity. |

6. Public Consultation

| Public consulted | Consultation method | Date | Details/Issues raised |
| --- | --- | --- | --- |
| No separate public consultations were done as the Social Safeguard Study has extensively covered this area. |  |  |  |

7. Environmental Effects and Mitigation Measures

7a. Screening for Potential Environmental Impacts

|  | Screening question | Yes | No | Significance of the effect (Low, moderate, high) | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Will construction and operation of the Project involve actions which will cause physical changes in the locality | Yes |  | Moderate – Positive impact Most of the interventions are carried out along the canal and its banks, hence no physical changes in topography and landform is anticipated. Strengthening of the canal banks with gabion structures and streamlined earthen embankments, realignment of bridges and reinstatement of a maintenance road will bring positive impacts to the canal and its immediate surroundings |  |
| 2 | Will the Project involve use, storage, transport, handling or production of substances or materials which could be harmful to human health or the environment or raise concerns about actual or perceived risks to human health? | Yes |  | Low Transport of material and construction activities, including excavation, demolition of existing structure and material piles will emit dust and fugitive particles which may pose a health hazard to vulnerable persons on temporary basis. The winds will be the triggering factor for such impacts though it is sporadic in nature. |  |
| 3 | Will the Project produce solid wastes during construction or operation? | Yes |  | Moderrate to high During construction: Removal of debris and nuisance weeds obstructing water flow from the waterway area and removal of silt and solid waste from maintenance dredging of the canal bed in selected locations will produce sizeable amounts of solid waste. There will be general spoilage (construction debris) produced during the widening of the canal, gabion construction and realignment of bridges. Maintenance dredging and and construction of gabions along the canal banks are expected to generate some amount of bottom sediments mixed with general debris and embankment soil, respectively, which will need to be disposed off properly, so as not to pollute the environment. Therefore, the sediment quality at the site (the proposed stretch of the canal) needs to be established prior to preparing the canal banks for gabion placing in order to determine the disposal method. During operations There will be material dredged along the canal, solid waste collected along canal banks etc which need regular collection and disposal appropriately. In addition, debris and sediments, floating matter , nuisance weeds such as Salvinia and other solid waste carried by surface drainage can get collected along the canal that needs proper disposal methods. Regular cleaning of side drains and road will too generate such material. Culverts will also generate spoil material. |  |
| 4 | Will the Project release pollutants or any hazardous, toxic or noxious substances to air? | Yes |  | Low Only fugitive particles emitted during construction stage is of concern, but the significance is low. |  |
| 5 | Will the Project cause noise and vibration or release of light, heat energy or electromagnetic radiation? | Yes |  | Low The project activities will cause noise and vibration during demolition of the bridges, temporary structures along the canal (not houses), excavation of trenches, compaction, and during transport of material etc. These impacts are temporary in nature and cause only inconvenience to the neighboring people only. |  |
| 6 | Will the Project lead to risks of contamination of land or water from releases of pollutants onto the ground or into surface waters, groundwater or coastal wasters? | Yes |  | Low The canal bankbed at the base of the gabions will need to be excavated to build a consistent base layer for the structure. In addition, canal bed maintenance will generate solid waste mixed with bed sediments. Such excavated material should be disposed of safely. Stock piling of excavated matter mixed with soft sediments, soil, debris and other material may release pollutants back into surface waters, groundwater or coastal waters. If the excavated material would contain sediments contaminated with heavy metals, it would have to be appropriately handled and disposed in order to avoid any potential environmental and health risks to the residents and downstream marine ecosystems. Pollution within the canal is mainly caused by sewage disposal, as such, occurrence of heavy metals at concentrations that will affect aquatic biota or people living in the area is not expected. However, sediment sample analysis at selected locations will need to be done. |  |
| 7 | Will the project cause localized flooding and poor drainage during construction Is the project area located in a flooding location? |  |  | Low Annexures 4 a to 4 c indicate that the present canal sections are adequate to withstand 5- and 10-year design return period peak discharges under existing land use conditions. However, some low-lying embankment sections will be subject to overtopping and undergo flooding under 10-year design return period peak flow discharge and future (2025) land use conditions, presumably due to partial blockage to the flow at some bridge locations with improperly aligned cross drainage openings and restricted flow condition due to construction of piers obstructing through flow. The proposed interventions after being implemented can provide additional conveyance capacity, thus, alleviating risk of flooding at 5- & 10-year design return period peak flow conditions even under future land use scenario. However, raised finish levels, stock piling of construction debris and other materials may cause temporary blockage to existing flow paths and disturbance to drainage patterns during the period of construction causing giving rise to flow stagnation and localized flooding effects. Ensuring of proper construction practices like provision of improved drainage network, maintaining naturally stable slopes, vegetation replanting/turfing, etc. will improve drainage conditions, reducing flow stagnation risk during the construction phase and in the aftermath of project completion. Further, the interventions are implemented to provide a maximum of 10-year flood protection against bank overtopping, thus, any severe/extreme storm event can lead to flooding and inundation in the low-lying areas within the project area. Therefore, the designs should be cross checked for at least a 25-year design return period flood event and consequences should be identified and addressed to minimize damages. |  |
| 8 | Will there be any risks and vulnerabilities to public safety due to physical hazards during construction or operation of the Project? | Yes |  | Low Safety issue in terms of injuries caused by construction material, machinery and falling into excavated trenches by neighbors and commuters could take place. |  |
| 9 | Are there any transport routes on or around the location which are susceptible to congestion or which cause environmental problems, which could be affected by the project? | Yes |  | Low The access roads are wide enough to allow for construction equipment and machinery to be moved and hence impacts on residents and commuters near the canal from restricted access should be looked into. The residents will be temporarily impacted by access restriction during construction works. Where the bridges are located, traffic on the main road will be impacted when construction commences. However, there are many connecting roads so that impact would be mitigated. |  |
| 10 | Are there any routes or facilities on or around the location which are used by the public for access to recreation or other facilities, which could be affected by the project? | Yes |  | Low to moderate Realignment of bridges, provision of culverts and road side drains will cause disruptions to road users, both vehicular traffic and pedestrians. Traffic on these main roads may worsen during construction. Some roads used as access for residential areas may be temporary affected but not completely cut off. |  |
| 11 | Are there any areas or features of high landscape or scenic value on or around the location which could be affected by the project? |  | No | Since project mainly deals with work along canals, no impact is anticipated. |  |
| 12 | Are there any other areas on or around the location which are important or sensitive for reasons of their ecology e.g. wetlands, watercourses or other water bodies, the coastal zone, mountains, forests which could be affected by the project? | Yes |  | Low At the upstream the canal is connected to some low lying marshes and at the downstream with the coastal area. The wetlands are not expected to be impacted from the project in anyway and is important for detention of flood waters. Similarly, impacts to coastal areas are also not significant. |  |
| 13 | Are there any areas on or around the location which are used by protected, important or sensitive species of fauna or flora e.g. for breeding, nesting, foraging, resting, migration, which could be affected by the project? |  | No | No such areas are found. Since the area has already been interfered by human activities, neither important nor sensitive species of fauna or flora were found. |  |
| 14 | Is the project located in a previously undeveloped area where there will be loss of green-field land |  | No | No such green-field is encountered. |  |
| 15 | Will the project cause the removal of trees in the locality? | Yes |  | Low It has been decided that mature large trees on the canal banks will be preserved and incorporated into the canal bank design during construction of the gabion walls. Removal of some vegetation would be unavoidable though. Where soft embankments are constructed (which is more in length than gabions) trees will not be removed. However in the case of maintenance road construction there will be a possibility of a few trees being removed which needs to be monitored but they seem to be common trees with no or low economic values. |  |
| 16 | Are there any areas or features of historic or cultural importance on or around the location which could be affected by the project? |  | No | There are no historic or culturally important areas or features around the project location. |  |
| 17 | Are there existing land uses on or around the location e.g. homes, gardens, other private property, industry, commerce, recreation, public open space, community facilities, agriculture, forestry, tourism, mining or quarrying which could be affected by the project? | Yes |  | Moderate Where land is acquired for maintenance road, home gardens of those living bordering the canal will be affected. |  |
| 18 | Are there any areas on or around the location which are densely populated or built-up, which could be affected by the project? | Yes |  | Moderate The project area is densely populated with generally narrow roads. The project will create moderate impacts in terms of road congestion, inconvenience and restricted access as the construction activities of the project would involve canal width correction and realignment of the bridges. Reinstatement of drainage canals and maintenance road along the canal will also lead to disruptions causes to road users, especially vehicle users. Transportation of building materials and construction equipment, and storage of material will also cause inconveniences to road users, and the neighbourhood. |  |
| 19 | Are there any areas on or around the location which are occupied by sensitive land uses e.g. hospitals, schools, places of worship, community facilities, which could be affected by the project | Yes |  | Low Project activities will take place mainly along the canal. At places where the canal crosses main roads (bridge locations) normal road activity will be disturbed. Some of these roads lead to sensitive places such as schools and hospitals. |  |
| 20 | Are there any areas on or around the location which contain important, high quality or scarce resources e.g. groundwater, surface waters, forestry, agriculture, fisheries, tourism, minerals, which could be affected by the project? |  | No | The canal is the only water resource that exist (being close to the sea the water quality in this stretch would make it moiré brackish) in the immediate project area. However, water in the canal is polluted due to a high concentration of urbanization with poor waste disposal practices. No significant additional impacts are expected due to proposed project components and intended construction activities. |  |
| 21 | Are there any areas on or around the location which are already subject to pollution or environmental damage e.g. where existing legal environmental standards are exceeded, which could be affected by the project? | Yes |  | Low Moragoda Ela and connected canals are highly or moderately polluted depending on the seasonal effects. However, the addition from the project seems to be very marginal or perhaps negligible. |  |

7. Environmental Management Plan

| Key project activities | Potential Environmental Effects | Mitigation Measures |
| --- | --- | --- |
| Site preparation including provision of access roads, material storage yards | - Emission of dust - Generation of noise - Disturbance to pedestrian movements and children who play on the road | - Minimize use of heavy machinery in site clearance work, preparation of temporary access roads, storage sheds and storage areas. - Select bare lands along the canal trace for storage of material and equipment should be strongly considered to avoid haphazard storage along the construction sites. Provision of proper site drainage, fencing and covering of material Should be ensured. - Sprinkling water in an appropriate manner to reduce dust. - Avoid using heavy machinery for transport of construction material along narrow access road along the banks of the canal - Avoid cutting of trees unless they obstruct construction of designed- structures. Express approval of Project Manager to be obtained before cutting and removal of any tree exceeding 300 mm girth. |
| Temporary shifting & relocating of utility posts (electricity & telecom). | - Community will lose the services for a short period - Disturbance to pedestrian movement on the access road and children playing on the road | - Interact and communicate with relevant Govt. Agencies, Local Govt. Authorities and Employer to arrange for relocation as early as possible and with minimum disturbance to public. - To erect barriers/ draw barricade tape to ensure security of public during removal/ relocation of utility posts. |
| Canal bank/bottom excavation,, dewatering and disposal of bottom sediments | - Excavation of canal banks and bottom will generate a mixed spoilage consisting of soil from the banks, solid waste and sediments from canal bed - Stockpiling of such excavated material may block surface drainage paths causing localized flooding during construction period. - If not properly stored and adequately covered washout of fine material may contribute to further deterioration of surface water quality in the canal, inland reservoirs and sea outfalls, and may increase risk of slope failures, siltation and blockage of structures. - If not properly disposed the excavated material will pollute water sources at location where it is disposed - Dewatering which may need to be carried out during construction activities, may cause slope instability, transport of fines and surface ponding of water if proper drainage is not provided. Further water quality of public well in the canal bank, used by community, may change. | - Silt and sediment quality in the canal should be established to understand the potential risk of contamination by heavy metals (and the leachability) and to determine the most suitable disposal method for the excavated debris and sediments. If contamination is established according to accepted reference criteria, the following mitigation measures are proposed to be implemented. (Note: Sri Lanka does not have regulatory standards for sediment quality. Under MCUDP it was decided to use the ANZECC interim standards for sediment quality) - given the small volume of excavated matter (mixed with sediments, and solid waste) that will be generated from this stretch of the canal the project should explore the possibility of finding a site for landfilling with adequate protection. Since the anticipated volume of excavated matter in this case would be small, the project should be able to obtain the necessary clearances from the Central Environmental Authority and the relevant Pradheshiya Sabhas to use their facilities or (b) dispose to an existing landfill site elsewhere in the country, or (c) stockpile it at the Mahamodara SW dumping site of the Galle Municipal Council with an agreement that the waste will be transported to the Regional Engineered Landfill (17 miles from Galle City) which is planned to be commissioned in 2015. - Selection of the suitable option will depend on the level of contamination and the possibility of contaminant leachability. If level of contamination warrants excavated material to be transported to any special dumping site further than 10 km radial distance, Contractor will make necessary arrangements for same, in a safe and acceptable manner specified by the Project Manager. Actual cost of such work and contractors overhead cost for same shall be paid under a Provisional Sum allocated for this. - If contamination is ruled out, the excavated matter along with other construction debris will be disposed to the SW dumping site operated by the local authority which is located within 10 Km radius from the canal site. - Wet excavated material / construction debris that can generate leachate when transported out of the site, shall be allowed to dry before transporting out to dumping sites. - Contractor must ensure that excavated material/ construction debris stacked within the site, will not prevent surface-drainage of the area causing inconveniences to public. Adequate measures shall be taken by contractor to avoid ponding of rain water runoff on the access road and canal bank reservation. - If the sediment analysis confirms the canal to contain contaminated sediments, the contractor should be instructed to carry out excavation in such a way that bottom sediments/debris is isolated (to the extent possible) from the rest of soil/spoilage, so that quantities needing special disposal would be minimal. Also, separating excavated soil from the bank from the rest of the debris should be pursued if the soil is considered suitable as a backfill for the gabions. - Contaminated sediments/soil should be transported only after drying to prevent leakage of water during transport. It will also be necessary to cover the material fully to prevent any particles from being air borne. Any accidental leakages will be immediately attended to by the contractor and the area should be cleaned up before the public can be exposed to any hazards. - Contractor must ensure that excavated material/ construction debris stacked within the site, will not prevent surface-drainage of the area causing inconveniences to public. Adequate measures shall be taken by contractor to avoid ponding of rain water runoff on the access road and canal bank reservation. - If dewatering is carried out, proper surface drainage should be provided to safely remove pumped water back to natural drainage avoiding any on-site ponding effects - Construction activities should be planned during the periods of low water table to avoid excessive dewatering requirements and save costs while reducing risks of slope failures, increased erosion, etc. - Suitably arranged barge may be used where access through existing roads is not available. |
| Removal of temporary structures, debris, demolition waste, trees and other solid waste along the banks | - Emission of dust - Generation of noise - Disturbances to local traffic,residents and other road-users during storage of material and debris. - Loss of habitat | - All large mature trees on canal banks shall be preserved. Anything to the contrary will require to be approved by the Engineer of the PID and Environmental officer of the PMU. On the maintenance road, a tree inventory will be carried out to document and monitor those large trees that will need to be removed. - Demolition to be carried out with minimum use of heavy machinery and sprinkling water in an appropriate manner to reduce dust during demolition activities. - Transporting out debris/construction waste to be carried out with minimal use of heavy transport vehicles and taking due care to avoid unwanted damages to existing structures. - Until transported out to arranged disposal sites, debris and waste from demolition shall be held stockpiled in a place with minimal interference with local drainage paths and obstruction to traffic, local residents and pedestrians. These stockpiles should be suitably covered to minimize wash out back to the canal. |
| Excavation for the gabion wall construction and coffer damming | - The construction of gabion walls along the canal embankment for bank strengthening and stabilization would require substantial excavation close to the existing earth embankments. Such deep excavations in saturated weak soil could result in collapsible vertical soil faces and increased susceptibility to erosion and liquefaction leading to bank failures. - Coffer damming is required to contain and divert movement of canal water and to provide a reasonably dry construction area for the laying of screed concrete base (if required by design) and interlocking rubble work arrangement during gabion wall construction. The excavations in saturated soil may lead to failure if collapsible soil faces and excavated material will pose health and environmental risks if not properly handled and disposed. - Excessive vibration during hydraulic driving of sheet piles for coffer damming may weaken adjacent soil layers while it may also affect nearby foundations and other structures. | - Proper dewatering plan must be made and stability of coffer dams during rainy period must be ensured. Excavated material must be carefully managed as highlighted earlier due to the potential risks involved. - Driving sheet piles to coffer dam the construction site might cause issues for weakly built structures nearby, hence, it is best to build earthen coffer dams. On completion of work, soil material of the coffer dam should be completely removed to restore conveyance. |
| Material transport and storage | - Emission of dust due to transport of construction material - Disturbance to pedestrian movement and the children playing on the road | - The construction materials intended for temporary storage should be properly stockpiled in most appropriate areas in the site to avoid disturbance to site mobility, traffic and stored away from drainage paths and suitably covered to avoid washout. As stated earlier, bare lands should be identified for this purpose (see above) - Dust emissions should be controlled by wet spraying of construction sites and roads which are used for transportation of construction materials. Tarpaulin covers shall be provided for vehicles used to transport material to avoid emission of dust. If considered necessary, dust barriers should be erected to protect nearby houses. - Adequate safety measures should be adopted in transporting and handling construction material to avoid any harm/accident to people using the road. |
| Construction of flow guidance walls made of gabions | - Deep excavations may cause slope failures and result in damages to existing structures and trees - Improper alignment of Gabion wall and inadequate bottom support and/or soil erosion may affect strength and stability of gabion walls. | - Adequate safeguards should be taken against slope failures and /or damages to existing structures by way of shoring /lateral supports & struts etc before carrying out excavations. - Adequate measures should be taken to minimize damages to existing structures due to vibration by applying minimum driving power. Adequate support should be provided to nearby trees when excavation depth exceeds root depth. - Proper alignment of rock wall and adequate bottom support should be maintained by following appropriate design guidelines and correct construction methodologies to ensure precise interlocking of the rubble work. Lined concrete flow guide walls should be used where necessary to control bottom and side erosion when the gabions walls are exposed to through flow. - Contractor shall record tie measurements to mark the layout of centerlines and obtain Project Managers written approval for at site lay-out of each section of gabion wall, before construction is taken up. |
| Reinstatement of storm water drainage connections (Hume pipes) to Moragoda Canal through gabion walls and introduction of catch pits wherever required | - Erosion of soil adjacent to structures will lead to loosening of bank support. This will weaken the interlocking of rubble used causing immature failure of gabion structure before its intended design life. - Blockage of drain pipes due to accumulation of fines. | - Storm water connections across the gabion walls should be provided using hume pipes or box culverts of adequate size according to pre-determined design storm events and return periods. - Catch pits should be provided at suitable spacing to remove excessive fines through settlement. Catch pits should be regularly cleaned and maintained in proper order. Fines removed should be properly disposed to avoid them joining flow paths again. - Proper slopes, invert levels and adequate opening sizes should be maintained to facilitate the entering of cross drainage flows to the canal, - Where through flow is expected, adequate protection should be provided with coir mats/geotextile membranes to curtail washout of fines though gabion structures, weakening surrounding soil layers. |
| Backfilling of banks behind the gabions, turfing and reinstatement of the maintenance road | - Use of improper fill material and sub-standard compacting behind gabion walls may lead to differential settlement causing gabion walls misalign and fail. | - Backfill materials should be selected after proper analyses of soil characteristics and with approval from Project Manager/Engineer. Adequate compaction should be applied to attain required soil strengths in banks and embankments. - The construction materials intended for temporarily storage should be properly stockpiled in most appropriate areas in the site to avoid disturbance to site mobility, traffic and stored away from drainage paths and suitably covered to avoid washout. |
| Reinstatement of maintenance road (width: 3 m) and construction of road side drain and cross drainage to the canal. | - Lack of well designed drains along canal access road leads to ponding of water on the road surface, weakening the road paving. - Disturbance to pedestrian movement and children playing on the road. Children will be subjected to accidents if construction equipment are not handled taking extreme care. | - Side drains and toe drains of adequate design sizes should be provided alongside of the maintenance roads and proper cross drainage structure should be provided where necessary to divert accumulated flows to the main drains. - Ensure community is adequately informed about project activities. Exhibit sign boards in both Sinhala and Tamil languages at appropriate locations. Organize the re-statement activities in such a way so that alternate ways of accessibility to houses are made sure |
| Health and Safety of workers and the public | - Lack of proper health and safety standards will put the workers and the public at risk from accidents and respiratory/auditory health impacts | - Contractor must comply with the provisions in Health and Safety regulations under the Factory ordinance with regards to provisions of health and safety measures and amenities at work places. - Ensure appropriate safety equipment, tools and protective clothing are provided to workers and that safe working methods are applied. A safety inspection checklist should be prepared taking into consideration what the workers are supposed to be wearing and monitored during specific construction activities. . - No paint containing lead or lead products will be used. Facemasks shall be supplied to workers who are working in spray painting or scraping lead paint. - All reasonable precautions must be taken in order to prevent any danger of the workers and the public from accidents by providing. - delineation devices such as cones, lights, tubular markers, orange and white strips and barricades are erected to inform oncoming vehicular traffic and pedestrians in the area about work zones. - signposts and flash lamps in nighttime to warn of all digging and installing work that are not completed - dangerous warning signs to inform public of particular dangers and to keepthe public away from such hazards. - swift rehabilitation of trenches progressively once work is completed. - barricades such as humps around excavated areas with proper sign boards especially during heavy rain when work has to be stopped. - The safety inspection checklist must look to see that the delineation devices are used, whether they are appropriately positioned, if they are easily identifiable and whether they are reflective. - Ensure prevention of risks from electrocution by regular inspection and maintainance of all electric power driven machines used on the construction site. They must be kept away from permanent/temporary pedestrian walkways. - Ensure basic emergency aid service is in place in the work zone - Ensure training of basic health and safety is be provided to the work force prior to commencement of construction where emphasis on all the above critical factors are emphasized. |
| General site management aspects | - Poor site management practices can lead to numerous adverse enviornmnetal impacts that can be easily mitigated, hence this is an important area to be strongly monitored. | - Locations for material storage should be identified prior to commencing work and approved by the Engineer. As the Road and the surrounding area is built storage space will be limited. Selection of storage locations should avoid being close to sensitive receptors such as schools, hospitals and places where crowds congregate. - All cement, bitumen (barrels), oil and other chemicals such as paint should be stored and handled on an impervious surface above ground level. - The storage location for these products should be enclosed and not exposed to rain and storm water run off - A temporary ridge should be constructed with suitable material around such places to avoid storm water getting in. - The contractor must avoid overloaded trucks to bring material to construction sites. During transport the material should be covered with Tarpaulin - Construction vehicles, machinery and equipment must be used and stationed only in areas of work and any other area approved by the Engineer. - Entry and exit points for construction vehicles should be defined and instructed by the Engineer - No activity should lead to the destruction of ground cover and vegetation unnecessarily and the contractor must instruct its staff adequately about this - Vehicle/machinery and equipment servicing and maintenance work must be carried out only in designated locations and should strictly avoid sensitive areas closer to waterways. - If the contractor intends to set up his own vehicle servicing yard, he should obtain an EPL from the CEA - If there is a spillage of petroleum products from storage tanks and containers, immediate corrective measures should be taken to arrest pollution especially in areas closer to waterways. - Once work is completed, these service yards must be restored back to its initial status and this will be considered as incidental to work. - Noisy construction work such as crushing, concrete mixing and batching should be carried out at least 150m away from closest habitation. If the contractor operates Hot mix/Batching/Crusher plants or if outsourced, the plant operations shall be undertaken in accordance with CEA guidelines/conditions and operated with an Environmental Protection License in order to minimize noise pollution. Implementation Responsibility : Contractor |

- Conclusion and Screening Decision :

The proposed Moragoda Ela basin storm water drainage improvement plan is formulated taking into account present as well as future conditions of the entire basin. This is essential in order to minimize serious storm water drainage problems that may occur during the design life of the project interventions. Hence, the implementation of the proposed storm water drainage project will help the basin develop sustainably leading to improved living standard, especially of those low income communities who occupy low lying lands.

Of the potentially adverse impacts anticipated during project implementation, the most important is the disposal of mixed debris from the canal bed/banks which will contain silt, solid waste and embankment soil generated from maintenance dredging and gabion construction. In order to determine the site of disposal of this debris, it is necessary to establish the quality of sediments with regard to heavy metal contamination and likelihood of contaminants leaching out at the disposal site. Pollution in Moragoda Ela is mainly due to raw sewage disposal and as such it is unlikely to be contaminated with heavy metals and organic compounds. Nevertheless it is important to follow the EMP in handling this issue. If careful disposal is warranted based on sediment test results, the PMU should prepare a sediment disposal plan covering, storing, loading, unloading, disposal and monitoring,

Considering the physical characteristics of the area and the proposed interventions, most of the environmental impacts described in the EMP caused by project activities are not expected to have any significant or irreversible impact and are related to dust/noise generation, siltation, safety hazards, traffic congestion and other general impacts which can be mitigated with good construction, site management and public safety practices. The areas affected during rehabilitation work are mainly confined to the canal corridor. The impact on water quality in the canal is negligible given its present state of pollution. The requirement to remove trees will be minimal given that the PID has taken a decision to preserve all large trees in the canal embankments and incorporate them in to the embankment layout. However, not all trees will be saved and it is important to evaluate and document each case of tree removal and follow guidelines of this EMP.

Given the above, it is considered that a stand alone EIA is not needed for the proposed project and that the EMP thus prepared is suffice to manage the potentially adverse impacts.

It is noted that existing channel condition with present land use scenario can withstand 5-year and 10-year return period peak discharges without causing embankment overtopping and subsequent inundation (Annexure 4 a, b & c). However, under the 2025 land use scenario, the canal conditions will be satisfactory for the 5-year return period peak discharge but overtopping is observed at 10-year peak discharge level at several sections (Ch. 3+200, 3+268, 3+373 & 3+877 km. It is recommended that the design consultants review the model to address this particular aspect to minimize damage.

- Environmental Monitoring

Environmental monitoring will be carried out largely through compliance monitoring using the checklist provided in the EMF by the Environmental Officer of the PMU and the contractor jointly. The Environmental officer of the PMU Galle office will be required to visit the site on a weekly basis and report to the PID and main PMU of the contractors performance on the implementation of the EMP. If disposal of sediments need to be carried out in a cautious manner, a special monitoring plan will need to be prepared to monitor the process from generation to final disposal.

10. EMP implementation responsibilities and costs

The overall responsibility of ensuring compliance with safeguard requirements for the sub-project lies with the PID. Specifically, it will be responsible for undertaking sediment quality testing in the proposed section of the canal, estimation of excavated material quantities generated and guiding the contractor on suitable disposal methods. The contractor will be responsible for implementing all other provisions in the EMP that relate mostly to good construction planning, site management and public safety practices.

The additional cost involved in implementing the EMP relate to (a) undertaking sediment quality tests and (2) disposal of excavated material if contamination is established.

As such, the only additional costs envisaged are explained below:

| Item | Cost (Rs) | Implementation Responsibility |
| --- | --- | --- |
| Sediment quality testing – 3 samples For following physical and chemical parameters Particle size distribution, pH, Sulphate, Chloride, Total Organic Carbon, Fe, Cd, Ni, Zn, Cu, Cr, Al, Pb, Mn, Ca, Mg, Hg, As and leachability test for heavy metals. The need to test dioxin content in the samples will also be evaluated and if necessary will be included. The testing will be done before the monsoon rain comes | 180,000 | PID |
| Disposal of excavated material | The cost of mitigation is hard to estimate at this stage as the quantities of material, quality of pollutants/substances, detailed methodologies, and sites for disposal etc. are undecided. The consultant will work with the PID for estimating the mitigation cost once results of the sediment quality test are received. | Contractor |

| Screening report completed by Dr. Mahesh Jayaweera, Team Leader University of Moratuwa Tel: 0777320590 email: maheshjayaweera@gmail.com Name/Designation/Contact information | Date 29 – 01 - 20014 Signature |
| --- | --- |
| Screening report reviewed by Name/Designation/Contact information | Date Signature |
| Approved by Name/Designation/Contact information | Date Signature |

9. Details of Persons Responsible for the Environmental Screening

(1) Dr. Mahesh Jayaweera, PhD, BSc in Civil Eng (Hons.), MIE (SL), CEng.

– Team Leader (Overall coordination and planning)

Experience: Team Leader/Consultant/Expert for more than 60 EIA and IEE studies during the past 15 years

(2) Dr. JagathManatunge, PhD, MSc, DIC, BSc in Civil Eng (Hons.), MIE (SL), CEng.

– Environmental Engineer (Noise, Water, Wastewater, Vibration, Air)

Experience: Team Leader/Consultant/Expert for more than 40 EIA and IEE studies during the past 12 years

(3) Dr. LalithRajapakse, PhD, MEng, BSc in Civil Eng (Hons.), MIE (SL), CEng.

– Civil Engineer (Hydrology, Geology, other civil engineering aspects)

Experience: Consultant/Expert for more than 20 EIA and IEE studies and assignments mainly related to hydrological during the past 6 years

(4) Mr. HemanthaJayasundara, BA (Hons.), MSc (Town and Country Planning), PG Dip in Urban Development, PD Dip in Environmental Sci.

–Urban Planner

Experience: More than 20 years as a Consultant/Expert on Urban and Regional Planning, Urban Design, Disaster Management, Environmental Management, Projects Management etc.

(5) Ms. Samangi Hewage, M.Phil. (Botany), B.Sc (Hons) in Forestry and Environmental Science

- Ecologist (Flora, Fauna, Ecosystems)

Experience: more than 10 EIA and IEE studies and ecological studies during the past 3 years

References

Cooray, P.G.(1984). An introduction to the geology of Sri Lanka (Ceylon), with a foreword by John Sutton, National Museums of Sri Lanka Publication, Colombo, Sri Lanka.

Annexure 1: Location Maps

Annexure 1: Location map

a. Project Area (1: 50,000 topographic map of Survey Department, Sri Lanka)

b. Project Area (Google Street View Map)

c. Project Area (Proposed Drainage Improvements)

Annexure 2: Terrain and Drainage Map

Annexure 2a: Terrain and Drainage Map with Identified Flood Locations

Annexure 2b: Main Canal System in Galle Municipal Council Area (SLLRDC, 2013)

Annexure 2c: Sub Canal System in Galle Municipal Council Area (SLLRDC, 2013)

Annexure 3: Soil map & Geological Map

Annexure 3a: Soil map

Source: Survey Department, Sri Lanka

Annexure 3b: Geological map

Source: Survey Department, Sri Lanka

Annexure 4:  Scenarios Analyzed in the Conceptual Design Report by the Sri Lanka Land Reclamation and Development Corporation (SLLRDC)

Annexure 4 a.	MoragodaEla as it is (existing condition) for 5 year return period flood

Annexure 4 b.	MoragodaElaas it is (existing condition) for 10 year return period flood

Annexure 4 c.	MoragodaElaas it is (existing condition) for 5 year return period flood under 2025 land use scenario

Annexure 4 d.	MoragodaElaas it is (existing condition) for 10 year return period under 2025 land use scenario

Annexure 4 e.	MoragodaEla with proposed interventions for 5 year return period flood

Annexure 4 f.	MoragodaEla with proposed interventions for 10 year return period flood

Annexure 4 g.	MoragodaEla with proposed interventions for 5 year return period flood under 2025 land use scenario

Annexure 4 h.	MoragodaEla with proposed interventions for 10 year return period flood under 2025 land use scenario

Annexure 5: LS of the Canal Trace (Plan) and Proposed Interventions